Kestrel system specification

| Transmit Frequency | 94.92 GHz |
| --- | --- |
| Peak Power | 1.2 kW |
| Pulse Duration | 50 – 2000 ns |
| Pulse Repetition Frequency | 10 Hz – 80 kHz |
| Antenna Diameter | 12 ‘’ |
| Antenna Gain | 49 dB |
| Nadir and fore beam angles | 0 and 40° |
| Beamwidth | 0.7 ° |
| Far field distance | 60 m |
| Receiver Noise Figure | 9 dB |
| Receiver Dynamic Range | 80 dB |
| Receiver Bandwidth | 5 MHz |