Estimation of Cloud Droplet Concentration from

Radar, Lidar and Microwave Radiometer Measurements

J.S. Erkelens*, S.C.H.M. Jongen#, H.W.J. Russchenberg* and M.H.A.J. Herben#

*Delft University of Technology, IRCTR, Mekelweg 4, 2628 CD Delft, The Netherlands.

Email: j.s.erkelens@its.tudelft.nl, http://irctr.et.tudelft.nl/

#Eindhoven University of Technology

ABSTRACT

In 1996 and 1998, measurement campaigns have taken place in the Netherlands and the United Kingdom, respectively. A variety of collocated instruments performed measurements on the clouds. Among the instruments were a microwave radiometer, lidars and radars. Also, particle size measuring probes were operated during flights through the clouds. Estimates of the microphysical properties of clouds may be made by combining the measurements from the different remote sensing instruments. In this paper, two known methods to do so are applied to the same data and the results are compared. It is shown that one of the methods is very sensitive the assumption made for the width of the droplet size distribution. This method will also not work properly in the presence of drizzle. For the other method, it is important to make an accurate estimation of cloud thickness.

1. INTRODUCTION

The radiative properties of clouds depend on the concentrations and sizes of the droplets. By combining different remote sensing instruments, estimates of these microphysical cloud properties can be made. For example, Frisch et al. [1] combine a K-radar and a microwave radiometer to estimate liquid-water content, modal radius and droplet concentration in stratus clouds. Frisch et al. make the following assumptions: the droplet size distribution can be described by a lognormal distribution, the width parameter of this distribution is known and constant with height in the cloud and the droplet concentration is constant with height. Under these assumptions, the liquid-water content is proportional to the square root of the radar reflectivity. By integrating the profile of the square root of the radar reflectivity factor, and combining the result with the liquid-water path obtained from the radiometer, an estimate of the droplet concentration can be made. Profiles of liquid-water content and effective diameter can be retrieved. The liquid water path is obtained with a statistical algorithm. Frisch et al. [2] show that it is not necessary to assume that the cloud-droplet size distribution is lognormal to obtain liquid water profiles, as long as the sixth order moment is related to the square of the third order moment.

Erkelens et al. [3],[4] combine radar and radiometer to improve retrievals of liquid water path. A profile algorithm was developed that models the liquid water profile on the basis of the radar reflectivity profile. The model profiles are tuned such that measured brightness temperatures and calculated brightness temperatures agree. This approach has several advantages over the conventional linear algorithms.

Boers et al. [5] combine a lidar, an S-band radar and a microwave radiometer to estimate the concentration of cloud droplets. The radiometer provides the liquid-water path, the radar gives the cloud top and the lidar delivers the cloud bottom and part of the extinction profile. Boers et al. assume a gamma distribution for the cloud droplet size distribution. The following assumptions are made: the droplet concentration is constant with height in the cloud, the liquid water content increases linearly with height and one of the parameters of the droplet size distribution is known and constant with height.

Hogan et al. [6] use the difference in attenuation between ground-based 35 and 94 GHz radars to estimate the liquid water content. Guyot et al. [7] use a dual-beam 95 GHz airborne radar to estimate cloud microphysical properties. They also formulate an algorithm to combine radar and lidar for that purpose.

In this paper, the algorithms of Frisch et al. [1] and Boers et al. [5] will be applied to data from the Clare campaign and the results will be compared. In section 2, the different algorithms will be described. In section 3, examples of retrievals of droplet concentration will be shown. The sensitivity of the results to the assumptions made in the algorithms will be discussed in section 4 and the paper finishes with conclusions and recommendations for future work.

2. RETRIEVAL ALGORITHMS

Lognormal distribution

Cloud-droplet size distributions can be modeled by a lognormal distribution:

(1)

N is the droplet concentration (number of droplets per unit volume),  is the logarithmic width of the distribution and r0 is the modal radius. The number of droplets per unit volume with radii between r and r+dr is given by n(r)dr. Eq. (1) expresses that the logarithm of the droplet radii are distributed with a normal distribution. In general, the distribution may change with height in a cloud.

The moments of this distribution are given by:

(2)

The measurements of different remote sensing instruments depend on the moments of the droplet size distribution. For a lognormal distribution the expressions for the radar reflectivity factor Z, the liquid water content L and the lidar extinction  are:

(3)

where w is the mass density of water, Q is the droplet extinction efficiency, which is about 2 for droplets much larger than the wavelength.

Combining radar and radiometer – The Frisch-method

The radar delivers a height profile of the radar reflectivity factor, while the radiometer provides the liquid water path. Eq. (1) shows that three parameters (N, r0 and ) are used to describe the cloud-droplet size distributions. Moreover, these parameters may have a height dependence. Therefore, a radiometer and radar do not provide enough information to estimate the detailed cloud microphysical properties. If one wants to say something about the droplet concentration, for example, assumptions have to be made about the other parameters and the height dependencies. Aircraft measurements performed in stratocumulus clouds suggest that the droplet concentration N and the width parameter  are approximately constant with height in the cloud [8],[9]. Frisch et al. [1] use these results in an algorithm that combines a K-radar and a microwave radiometer to estimate droplet concentrations and liquid water profiles. They assume a value of 0.35 for the width parameter. Eq. (3) shows that the liquid water content L is proportional to the square root of the radar reflectivity factor:

(4)

Integrating eq. (4) over the vertical and equating the result to the Liquid Water Path (LWP) provided by a microwave radiometer gives an estimate of the droplet concentration. Eq. (4) then provides an estimate of the vertical liquid water profile. Using the estimated concentration and the assumed value for the width parameter, a profile of effective diameter can also be computed. The effective diameter is the ratio of the third order moment of the droplet size distribution to the second order moment. Note that the liquid water retrievals are influenced neither by radar calibration errors nor by a wrong assumption about the width parameter, but the concentration and effective diameters will be affected.

Frisch et al. [2] show that it is not necessary to assume a lognormal size distribution to estimate liquid water profiles. For that, the only prerequisite is that the sixth order moment of the droplet size distribution is proportional to the square of the third order moment. A large collection of droplet spectra from a variety of warm-phase liquid water clouds showed that this is a reasonable assumption. A value of 0.46 for  seemed more appropriate for these data.

Combining radar, radiometer and lidar – The Boers-method

Boers et al. [5] developed a method to combine three remote sensing instruments to estimate the droplet concentration N. Boers et al. assume a gamma droplet size distribution, but a lognormal distribution may be used just as well.

Eq. (3) shows the lidar extinction for a lognormal distribution. The extinction and the liquid water content are related according to:

(6)

However, it is often not possible to apply a technique similar to the one of Frisch et al., because the lidar signal may not penetrate the entire cloud. Therefore, vertically integrating eq. (6) and adjusting N such that the result equals the liquid water path will not work in many cases. Boers et al. applied a different technique. Firstly, part of the extinction profile is estimated with the Klett-algorithm [10]. The additional assumption is made that the liquid water content increases linearly with height. The slope of the liquid water profile is found from the liquid water path and the thickness of the cloud. A radar is used to find the cloud-top height, while the cloud bottom is defined as the height level immediately below the level where the lidar extinction curve exceeds 2 per km. It is necessary to use both instruments to determine the cloud boundaries, because each of the instruments alone does not suffice [11], [12]. Sassen [13] has calculated for water clouds that the cloud base obtained with lidar and radar will be about the same when the sensitivity of the radar is about 40 dBZ.

The extinction profile is now modeled by:

(7)

where LWP is the liquid water path, H is the cloud thickness and h is the height with respect to the bottom of the cloud. A least squares fit of eq. (7) to the available points of the measured extinction profile provides an estimate for N.

3. RETRIEVALS

The two methods described above will be applied to two cases from the Clare'98 campaign at Chilbolton, in the United Kingdom. Figure 1a shows the radar reflectivity factor of a thin stratocumulus cloud. The measurement was performed on 15 October 1998 with the 35 GHz radar of Rutherford Appleton Laboratories. The vertical resolution is 75 m and the time resolution of the picture is 1 minute. Figure 1b shows a 5 minute average of the liquid water path (LWP) obtained from a microwave radiometer. Figure 1c shows retrievals of droplet concentration with the two retrieval methods described in section 2. The continuous line shows the concentration estimated with the Frisch-method, the dotted line the concentration given by the Boers-method. For both methods it

Figure 1. (a) Radar measurement of a stratocumulus cloud performed during the Clare'98 campaign (15 October 1998), with a 35 GHz radar. (b) Liquid water path obtained from a microwave radiometer. (c) Retrievals of droplet concentration from the Frisch-method (solid line) and the Boers-method (dashed line).

Figure 2. (a) Radar measurement of a drizzling cloud performed during the Clare'98 campaign (20 October 1998), with a 35 GHz radar. (b) Liquid water path obtained from a microwave radiometer. (c) Retrievals of droplet concentration from the Frisch-method (solid line) and the Boers-method (dashed line).

has been assumed that the value of the logarithmic width  is equal to 0.35. The values that are obtained are "reasonable". Unfortunately, no in-situ measurements are available for this case to validate the results. The average value of concen-tration found with the Boers-method is 338 per cm3, and the mean is 287 per cm3 for the Frisch-method. An error in the assumed logarithmic width has a different influence on the concentrations found with each method. This can be seen from eqs. (4) and (6). If a value is used for  that is too low (high), then the estimates of droplet concentration from the Frisch-method will tend to be lower (higher) than those obtained with the Boers-method. The average values of the concentrations would become equal when =0.39 is taken. Of course, the differences in the concentrations found could also originate from other error sources. Some of these will be discussed briefly in the next section.

Figure 2a shows a measurement of a cloud which starts to precipitate. This measurement was performed on 20 October 1998 with the same radar as the one used for figure 1a. Figure 2b shows the liquid water path. After about 8 UTC, the precipitation reaches the ground and the values of liquid water path may not be very reliable. In figure 2c the retrievals of droplet concentration are shown. The solid line is the result of the Frisch-method, the dashed line that of the Boers-method.

The Frisch-method is much more affected by the presence of drizzle, because in the radar reflectivity is dominated by the largest drizzle droplets, while the liquid water content is determined by the smaller cloud droplets. In that case, the radar reflectivity and the liquid water content will almost be unrelated [14], [15]. It may be possible to distinguish between cases with and without drizzle by setting an threshold on the reflectivity or velocity [1]. Another method uses the effective radius estimated from radar and lidar [15].

4. DISCUSSION

An important error source in the Frisch-method is the assumption that is made about the width parameter . From eq. (4) it is clear that the estimate of the concentration N depends on  as exp(92), so a small error in the assumption for  can lead to a considerable error in concentration. An idea about the range of values of the width parameter that may occur can be obtained by looking at in-situ FSSP measurements of droplet size distributions. Such FSSP data is available from the CLARA campaigns, which took place in 1996 in the Netherlands. For more information on CLARA, see van Lammeren et al. [16]. Droplet size distributions measured on eight days have been used to look at the variations in  that may occur. The third and sixth order moments of the measured distributions are combined, and the value of  is computed that corresponds to the lognormal distribution that has these values for the third and sixth order moments. The mean values of  on the eight different days were between 0.19 and 0.44. (When the second and third order moments were used, similar results were obtained). For these values, exp(92) ranges between 1.4 and 5.7. This means that errors up to about  60 % can be made by assuming a fixed value for  of 0.37.

Eq. (7) shows that the estimate of the concentration with the Boers-method depends less strongly on , namely as exp(32). The above mentioned values for the width parameter could therefore lead to errors in concentration up to  23 % when =0.35 is assumed.

For the Boers-method, it is very important to make an accurate estimation of the cloud thickness since the retrieval of the concentration depends on H4. The clouds in the examples presented in section 3 were not very thick (thickness about 300 m) and the resolution of the radars used was rather coarse (about 75 m), so an error of half a radar resolution cell would lead to errors in the order of 50 %. The different instruments are not looking at exactly the same cloud volume, because the beamwidths and vertical resolutions are different. Moreover, there may be some distance between the instruments. It is therefore advisable to average the measurements in time [6]. Averaging of the profiles, however, will tend to increase the apparent cloud thickness [17] and the retrievals of concentration will become biased. We calculated cloud thickness with 1 minute resolution and averaged the values over 5 minutes. We have averaged the radar reflectivity profiles, the liquid water path and the lidar extinction profiles over a 5 minute time period.

5. CONCLUDING REMARKS

Two methods to retrieve droplet concentration have been compared, the method of Frisch et al. [1] and the method of Boers et al. [5]. The Frisch-method is more sensitive to errors in the assumed value of the width parameter than is the Boers-method. For the Boers-method to work properly, however, an accurate determination of the cloud thickness and part of the extinction profile is necessary. The Frisch-method will not work when a cloud is drizzling, because the radar reflectivity will then be dominated by the drizzle drops while the liquid water path may still be dominated by the small cloud droplets. The Boers-method is less affected by drizzle.

In the near future, we want to compare the Frisch-method and the Boers-method for more cases, and also compare the results with in-situ data. We also want to study some cases with drizzle, to study how that affects the Boers-method. It is also interesting to investigate the variability in the width parameter from in-situ data from the Clare'98 campaign.

ACKNOWLEDGMENTS

We thank John Goddard of the Rutherford Appleton Laboratory for providing us with the Clare radar data and ceilometer data. Gerard Kos of the Energy Centre of the Netherlands delivered the FSSP-data of CLARA. This research was supported by the Netherlands Technology Foundation (STW).

REFERENCES

[1]	Frisch, A.S., C.W. Fairall, and J.B. Snider, "Measurement of stratus cloud and drizzle parameters in ASTEX with a K-band radar and a microwave radiometer," J. Atmos. Sci., Vol. 52, pp. 2788-2799, 1995.

[2]	Frisch, A.S., G. Feingold, C.W. Fairall, T. Uttal, and J.B. Snider, "on cloud radar and microwave radiometer measurements of stratus cloud liquid water profiles," J. Geophys, Res., Vol. 103, No. D18, pp. 23195-23197, 1998.

[3]	Erkelens, J.S., H.W.J. Russchenberg, S.C.H.M. Jongen, and M.H.A.J. Herben, "Cloud liquid water profile estimation combining radar and radiometer," Proc. 8th URSI-F Symposium on Wave Prop. & Remote Sensing, Aveiro, Portugal, pp. 167-170, 1998.

[4]	Erkelens, J.S., H.W.J. Russchenberg, S.C.H.M. Jongen, and M.H.A.J. Herben, "Combining radar and microwave radiometer for cloud liquid water retrieval," Proc. 28th European Microwave Conf., Amsterdam, The Netherlands, Vol. 2, pp. 67-72, 1998.

[5]	Boers, R., H. Russchenberg, J. Erkelens, V. Venema, A. van Lammeren, A. Apituley, and S. Jongen, "Ground-based remote sensing of stratocumulus properties during CLARA-1996," Accepted for J. Appl. Met., 1999.

[6]	Hogan, R.J., A.J. Illingworth, and H. Sauvageot, "Cloud characteristics from dual wavelength millimetre-wave radar," Proc. 29th Conf. Radar Met., Montreal, Canada, pp. 457-459, 1999.

[7]	Guyot, A., F. Baudin, S. Haimov, P. Laborie, D. Leon, A. Pazmany, J. Pelon, J. Testud, V. Trouillet, and G. Vali, "Dual beam cloud radar and backscattering lidar on the same airborne platform: first results," Proc. 29th Conf. Radar Met., Montreal, Canada, pp. 469-471, 1999.

[8]	Slingo, A., S. Nicholls, and J. Schmetz, "Aircraft observations of marine stratocumulus during JASIN," Quart. J. R. Met. Soc., Vol. 108, pp. 833-838, 1982.

[9]	Martin, G.M., D.W. Johnson, and A. Spice, "The measurement and parameterization of effective radius of droplets in warm stratocumulus clouds," J. Atm. Sci., Vol. 51, No. 13, pp. 1823-1842, 1994.

[10]	Klett, J.D., "Stable analytical inversion solution for processing lidar returns," Appl. Optics, Vol. 20, No. 2, pp. 211-220, 1981.

[11]	Venema, V., H. Russchenberg, A. Apituley, A. van Lammeren, and L. Ligthart, "Cloud boundary height measurements using lidar and radar," submitted to Phys. Chem. Earth, 1999.

[12]	Clothiaux, E.E., T.P. Ackerman, G.G. Mace, K.P. Moran, R.T. Marchand, M.A. Miller, and B.E. Martner, "Objective determination of cloud heights and radar reflectivities using a combination of active remote sensing sensors at the ARM CART sites," accepted for J. Appl. Met., 1999.

[13]	Sassen, K., G.G. Mace, Z. Wang, M.R. Poellot, S.M. Sekelsky, and R.E. McIntosh, "Continental stratus clouds: a case study using coordinated remote sensing and aircraft measurements," J. Atm. Sci., pp. 2345-2358, 1999.

[14]	Fox, N.I., and A.J. Illingworth, "The potential of a spaceborne radar for the detection of stratocumulus clouds," J. Appl. Met., Vol. 36, No. 6, pp. 676-687, 1997.

[15]	de Wit, J.J.M., R.J.P. Baedi, J.S. Erkelens, J.P.V. Poiares Baptista, and H.W.J. Russchenberg, "Development of retrieval algorithms of cloud parameters from radar and lidar based on the CLARE data set," Proceedings of this symposium.

[16]	van Lammeren, A., A. Feijt, D. Donovan, H. Bloemink, H. Russchenberg, V. Venema, J. Erkelens, A. Apituley, H. ten Brink, A. Khlystov, S. Jongen, G. Brussaard, and M. Herben, "Clouds and radiation: intensive experimental study of clouds and radiation in the Netherlands (CLARA)," Proceedings of this symposium.

[17]	Apituley, A., A. van Lammeren, and H. Russchenberg, "High time resolution cloud measurements with lidar during CLARA," accepted for Phys. Chem. Earth, 1999.