## Report
Site name | Site code | Date of visit | OS X | OS Y | Latitude | Longitude | UTM
Crystal Palace 1 | CY1 | 2007-08-14 | 529200 | 203027 | 51 42' 40N | 0 07' 53W | 30U 703323.82E, 5701041.51N
Satellite pictures
Date: 12/05/2006 -
2006-10-24
Local scale
(100 m radius)
Meso Scale
(1km radius)
Street maps
Local scale
(100 m radius)
Meso Scale
(1km radius)
Site classification | LAQN Classification | Station Type |  |  | Urban climate zone | Meso (1 km radius) | Local (100 m radius) | Micro (30 m radius)
| Roadside | Urban Meteorological |  |  |  | 5 | 6 | 6
% Land cover |  | 100 m | 1 km |  | Main Land use | Direction | Land use (MAJOR / minor)
| Vegetated | 68.98 | 54.75 |  |  | N | FORRESTED/ residential
| Built over | 18.71 | 31.11 |  |  | E | GREEN SPACE/ residential
| Water | 0 | 0.67 |  |  | S | GREEN SPACE/ residential
| Road | 12.31 | 13.47 |  |  | W | RESIDENTIAL/ green space
Site description | Meso (1 km radius) |  | Local (100 m radius) |  |  | Micro (30 m radius)
| Medium density residential areas in all directions. Large areas of open green space. |  | Adjacent to main road and large park areas. Low density buildings beyond road. |  |  | Station shrouded by a row of tall trees, behind which is open greenspace (to East). To West is a busy road and lots of tall trees.
Station photo
Plan view diagram
(30 m radius)
KEY
□ : Tree
X : Station
Site obstacles | Sketch key | Type | Detail | Wall material | Roof material | View from station
| 1 | Petrol Station | N/a | N/a | Grey metal
| 2 | Flats | N/a | Light brown/red brick | Brown slate
| 3 | Tree | Deciduous | N/a | N/a
| 4 | Tree | Deciduous | N/a | N/a | Unavailable
| 5 | Tree | Deciduous | N/a | N/a | Unavailable
| 6 | Tree | Deciduous | N/a | N/a
| 7 | Tree | Deciduous | N/a | N/a
Instrument diagram
(Plan view)
Instruments | Sketch key | Name | Variable | True height (m) | Concerns
| a | Cup anemometer | Wind Speed | 5.92 | IMPORTANT CONCERN: Shrouded by taller trees, such as (4) & (5)
| b | Wind vane | Wind Direction | 5.92 | IMPORTANT CONCERN: Shrouded by taller trees, such as (4) & (5)
| c | Solarimeter | Solar radiation | 4.53 | Surrounded by the leaves of deciduous trees. In summer they would be light reflectors, in winter the solarimeter would be more exposed to direct sunlight.
| d | Rain Gauge | Rainfall | 2.95 | Similar to above, covered by leaves of deciduous trees.
| e | TEOM | Air Temperature | 2.65 | Leaves reflecting solar radiation could cause a heating effect.
| f | Sample Inlet/TEOM | Air Quality | 3.05 | N/a
| g | Air conditioning unit | N/a | On NE side of station | N/a
Instrument image
| Above: Instrument (d) |  |  |  | Above: Instruments (e) & (f)
Above: Instruments (a) & (b) combined
Above: Instrument (c)
Graphs
Height vs. bearing
3D diagram
(bearing, height and distance from site)
Other influences
Heat sources | Bearing from site (°) | Source |  | Location |  | Detail
| 240 - 70 | Road |  | N/a |  | N/a
| N/a | Air conditioning unit |  | On top of station |  | N/a
| 360 | Tree leaves |  | N/a |  | Reflect solar radiation; surrounding solarimeter.
Traffic | Heavy traffic on road running from SW to NE. |  | Seasonal features | Summer: trees in full leaf and very overgrown. All major surrounding trees deciduous. |  | Temporary fixtures | N/a
| Task | Initial
| Who visited the site | RW, KR
| Who filed the report | KR, RE
| Who produced the plots | RE |  | N.B. values given to 3 s.f.

## Height and Distance
Bearing | True height | True distance | Sketch key
0 | 11.1 |  | 2
1 | 11.1 |  | 2
2 | 11.1 |  | 2
3 | 11.1 |  | 2
4 | 12 |  | 3
5 | 11.1 |  | 2
6 | 11.1 |  | 2
7 | 11.1 |  | 2
8 | 11.1 |  | 2
9 | 11.1 |  | 2
10 | 11.1 |  | 2
11 | 11.1 |  | 2
12 | 11.1 |  | 2
13 | 11.1 |  | 2
14 | 11.1 |  | 2
15 | 5.89 |  | 1
16 | 0
17 | 0
18 | 0
19 | 0
20 | 0
21 | 0
22 | 0
23 | 0
24 | 0
25 | 0
26 | 0
27 | 0
28 | 0
29 | 0
30 | 0
31 | 0
32 | 0
33 | 0
34 | 0
35 | 0
36 | 0
37 | 0
38 | 0
39 | 0
40 | 0
41 | 0
42 | 0
43 | 0
44 | 0
45 | 0
46 | 0
47 | 0
48 | 0
49 | 0
50 | 0
51 | 0
52 | 0
53 | 0
54 | 0
55 | 0
56 | 0
57 | 0
58 | 0
59 | 0
60 | 0
61 | 0
62 | 0
63 | 0
64 | 0
65 | 0
66 | 0
67 | 0
68 | 0
69 | 0
70 | 0
71 | 0
72 | 0
73 | 0
74 | 12 |  | 4
75 | 0
76 | 0
77 | 0
78 | 0
79 | 0
80 | 0
81 | 0
82 | 0
83 | 0
84 | 0
85 | 0
86 | 0
87 | 0
88 | 0
89 | 0
90 | 0
91 | 0
92 | 0
93 | 0
94 | 0
95 | 0
96 | 0
97 | 0
98 | 0
99 | 0
100 | 0
101 | 0
102 | 0
103 | 0
104 | 0
105 | 0
106 | 0
107 | 0
108 | 0
109 | 0
110 | 0
111 | 0
112 | 0
113 | 0
114 | 0
115 | 0
116 | 0
117 | 0
118 | 0
119 | 0
120 | 0
121 | 0
122 | 0
123 | 0
124 | 0
125 | 0
126 | 0
127 | 0
128 | 0
129 | 0
130 | 0
131 | 0
132 | 0
133 | 0
134 | 0
135 | 0
136 | 0
137 | 0
138 | 0
139 | 0
140 | 0
141 | 0
142 | 0
143 | 0
144 | 0
145 | 0
146 | 0
147 | 0
148 | 0
149 | 0
150 | 0
151 | 0
152 | 0
153 | 0
154 | 0
155 | 0
156 | 0
157 | 0
158 | 0
159 | 0
160 | 0
161 | 0
162 | 0
163 | 0
164 | 0
165 | 0
166 | 0
167 | 0
168 | 0
169 | 0
170 | 0
171 | 0
172 | 0
173 | 0
174 | 0
175 | 0
176 | 0
177 | 0
178 | 0
179 | 0
180 | 0
181 | 0
182 | 0
183 | 0
184 | 12 |  | 5
185 | 0
186 | 0
187 | 0
188 | 0
189 | 0
190 | 0
191 | 0
192 | 0
193 | 0
194 | 0
195 | 0
196 | 0
197 | 0
198 | 0
199 | 0
200 | 0
201 | 0
202 | 0
203 | 0
204 | 0
205 | 0
206 | 0
207 | 0
208 | 0
209 | 0
210 | 0
211 | 0
212 | 0
213 | 0
214 | 0
215 | 0
216 | 0
217 | 0
218 | 0
219 | 0
220 | 0
221 | 0
222 | 0
223 | 0
224 | 0
225 | 0
226 | 0
227 | 0
228 | 0
229 | 0
230 | 0
231 | 0
232 | 0
233 | 0
234 | 0
235 | 0
236 | 0
237 | 0
238 | 0
239 | 0
240 | 0
241 | 0
242 | 0
243 | 0
244 | 0
245 | 0
246 | 0
247 | 0
248 | 0
249 | 0
250 | 0
251 | 0
252 | 0
253 | 0
254 | 0
255 | 0
256 | 0
257 | 0
258 | 0
259 | 0
260 | 0
261 | 0
262 | 0
263 | 0
264 | 0
265 | 0
266 | 0
267 | 0
268 | 8.38 |  | 6
269 | 0
270 | 0
271 | 0
272 | 0
273 | 0
274 | 0
275 | 0
276 | 0
277 | 0
278 | 0
279 | 0
280 | 0
281 | 0
282 | 0
283 | 0
284 | 0
285 | 0
286 | 0
287 | 0
288 | 0
289 | 0
290 | 0
291 | 0
292 | 0
293 | 0
294 | 0
295 | 0
296 | 0
297 | 0
298 | 0
299 | 0
300 | 0
301 | 0
302 | 0
303 | 0
304 | 8.38 |  | 7
305 | 0
306 | 0
307 | 0
308 | 0
309 | 0
310 | 0
311 | 0
312 | 0
313 | 0
314 | 0
315 | 0
316 | 0
317 | 0
318 | 0
319 | 0
320 | 5.89 |  | 1
321 | 5.89 |  | 1
322 | 5.89 |  | 1
323 | 5.89 |  | 1
324 | 5.89 |  | 1
325 | 5.89 |  | 1
326 | 5.89 |  | 1
327 | 5.89 |  | 1
328 | 5.89 |  | 1
329 | 5.89 |  | 1
330 | 5.89 |  | 1
331 | 5.89 |  | 1
332 | 5.89 |  | 1
333 | 5.89 |  | 1
334 | 5.89 |  | 1
335 | 5.89 |  | 1
336 | 11.1 |  | 2
337 | 11.1 |  | 2
338 | 11.1 |  | 2
339 | 11.1 |  | 2
340 | 11.1 |  | 2
341 | 11.1 |  | 2
342 | 11.1 |  | 2
343 | 11.1 |  | 2
344 | 11.1 |  | 2
345 | 11.1 |  | 2
346 | 11.1 |  | 2
347 | 11.1 |  | 2
348 | 11.1 |  | 2
349 | 11.1 |  | 2
350 | 11.1 |  | 2
351 | 11.1 |  | 2
352 | 11.1 |  | 2
353 | 11.1 |  | 2
354 | 11.1 |  | 2
355 | 11.1 |  | 2
356 | 11.1 |  | 2
357 | 11.1 |  | 2
358 | 11.1 |  | 2
359 | 11.1 |  | 2

## Height Calculation
Feature | Angle up (°) | Angle up (rad) | Baseline (m) | User Eye Level Ht (user: MP) | True Ht (m) | Feature | Angle up (°) | Angle up (rad) | Baseline (m) | User Eye Level Ht (user: MP) | True Ht (m)
a | 12 | 0.20944 | 19.4 | 1.8 | 5.9236 | 1 | 6 | 0.10472 | 38.9 | 1.8 | 5.8886
b | 12 | 0.20944 | 19.4 | 1.8 | 5.9236 | 2 | 7.5 | 0.1309 | 70.9 | 1.8 | 11.1342
c | 8 | 0.13963 | 19.4 | 1.8 | 4.5265 | 3 | 25 | 0.43633 | 21.8 | 1.8 | 11.9655
d |  |  |  |  | 2.95 | 4 | 25 | 0.43633 | 21.8 | 1.8 | 11.9655
e |  |  |  |  | 2.65 | 5 | 25 | 0.43633 | 21.8 | 1.8 | 11.9655
f |  |  |  |  | 3.05 | 6 | 21.5 | 0.37525 | 16.7 | 1.8 | 8.3783
g | N/A | N/A | N/A | N/A | N/A | 7 | 21.5 | 0.37525 | 16.7 | 1.8 | 8.3783