## Sheet1
WXT & Radiation Combined File Format
Date: 1 Sept 2010 — radiation data offset in these files by 15 mins (these files should not be used) (FL, SG)
WXT 510/CNR1 Mean Data File Convention
Who: Duick Young 6 Aug 2007
File convention for data files stored in W:\KCLroof\YYYY\WXT510\MM\
File name structure LRYYYYDDD_15.txt.
File Convention started 25th July 2007 (DOY 206)
Flag (Column 27) added 3rd August 2007 (DOY 214)
Tipping Bucket Raingauge added 18 August 2008 (DOY 231)
Generated by: MATLAB using WXTmeanplot#.m

WXT/RAD/Rain:Flow Diagram

File Format: Radiation+ WXT/ combined
Date: 1 Sept 2010 — radiation data offset in these files by 15 mins (these files should not be used) (FL, SG)
Who: Duick Young 22/7/07
File convention for data files stored in W:\KCLroof\YYYY\WXT510\MM\
File name structure WXTYYYYDDD_15.txt.
File Convention started 16th July 2007 (DOY 2197)
Flags added 6th August 2007 (DOY 218)
Generated by: MATLAB using WXTmeanplot#.m

WXT510
Variables:
Tair, RH, U, Dir, Station Pressure, Rainfall
Sites:
KSK
Date Installed:
Serial Number:
Height
KSS
Date Installed:
Serial Number:B0840005
Height:

Li-840: File Formats
File Formats: (from ComCap)
LI-1YYYYDDD_HH_raw.txt
LI-2YYYYDDD_HH_raw.txt
Processed

Li-840:
Gas Analyser
Model: Li-840 Li-Cor
SN:HGA-0418
KSS
Date Installed:
Levels sampling
Sample rate raw: 0.5s
Software: ComCap4 v

LAS:File format
Who: SG 10 August 2007
File convention for data files stored in W:\KCLroof\YYYY\LAS\
File name structure LasFastYYDDD_hr.txt
File Convention started of hourly split dat:a 1300./ day 211 2007
Generated by: hourly split from CR3000

WXT & Radiation Combined File Format
Date: 1 Sept 2010 — radiation data offset in these files by 15 mins (these files should not be used) (FL, SG)
WXT 510/CNR1 Mean Data File Convention
Who: Duick Young 6 Aug 2007
File convention for data files stored in W:\KCLroof\YYYY\WXT510\MM\
File name structure LRYYYYDDD_15.txt.
File Convention started 25th July 2007 (DOY 206)
Flag (Column 27) added 3rd August 2007 (DOY 214)
Tipping Bucket Raingauge added 18 August 2008 (DOY 231)
Generated by: MATLAB using WXTmeanplot#.m

File Format: Radiation+ WXT/ combined
Date: 1 Sept 2010 — radiation data offset in these files by 15 mins (these files should not be used) (FL, SG)
Who: Duick Young 22/7/07
File convention for data files stored in W:\KCLroof\YYYY\WXT510\MM\
File name structure WXTYYYYDDD_15.txt.
File Convention started 16th July 2007 (DOY 2197)
Flags added 6th August 2007 (DOY 218)
Generated by: MATLAB using WXTmeanplot#.m

Radiation: File formats

Raw data (5 s sample, 15 min average)
Filename:
KSS_RFYYDDD.dat File Format
KSK_RFYYDDD.dat File Format
Who: Duick Young 23 March 2009
File convention for data files stored in …\KCLroof\YYYY\CR5000\
File convention started: 18th August 2008 (DOY 231)
Generated by: Simple Tower Program _V1.1.CR3 (after SPLIT)
KSK
KSK_LRYYYYDDD_15.txt
Format: 15 min data: Combined

Radiation Sensors: Calibration
Skye Instruments: Quantum sensor (400-700 nm) SKL2620/5 0206 30660 Date:Feb 2006 certificate
Kipp and Zonen: CNR1; SN0220: Date: 13 Jan 2006 certificate
08/31/10

Radiometers
Variables:
Incoming shortwave, Incoming longwave, Outgoing shortwave, Outgoing Long wave, Q*, UVA, UVB, PAR
Sites:
KSK
Model: Kipp and Zonen CNR1
Date Installed:
Date Removed:
Serial Number:000220
Height
Calibration
KSS
Model: Kipp and Zonen CNR1
Date Installed:
Serial Number: 000220
Height:

Radiation: File Format (old)
Old CNR1 Mean Data File Convention
Who: Duick Young 22 October 2009
File convention for data files stored in …\KCLroof\YYYY\CR5000\
File name structure � RFYYDDD.dat
File convention started: 26th July 2007 (DOY 207)
File convention ended: 17th August 2008 (DOY 230)
Generated by: Needs to be confirmed – old CR3000 program
Column		Variable		Units
1		Year
2		Month
3		Day
4		Hour
5 / 6		Minute / Record Number
7		Kdn – Average		W m-2
8		K dn – Standard Deviation		W m-2
9		K↑ – Average		W m-2
10		K↑ – Standard Deviation		W m-2
11		L dn – Average		W m-2
12		L dn – Standard Deviation		W m-2
13		L↑ – Average		W m-2
14		L↑ – Standard Deviation		W m-2
15		CNR1 Temperature – Average		degC
16		CNR1 Temperature – Standard Deviation		degC
17		CNR1 Temperature – Average		K
18		CNR1 Temperature – Standard Deviation		K
19		Net Radiation – Average		W m-2
20		Net Radiation – Standard Deviation		W m-2
21		UVA – Average		μmol m-2 s-1
22		UVB – Average		μmol m-2 s-1
23		Quantum (PAR) – Average		μmol m-2 s-1
24		UVA – Average		W m-2
25		UVB – Average		W m-2
26		Quantum (PAR) – Average		W m-2
27		UVA – Standard Deviation		μmol m-2 s-1
28		UVB – Standard Deviation		μmol m-2 s-1
29		Quantum (PAR) – Standard Deviation		μmol m-2 s-1
30		Quantum (PAR) – Standard Deviation		μmol m-2 s-1

09/01/09

Radiation: File Format (old)
Daily Output File Format
Who: Duick Young 6/Aug 07
File convention for data files stored in W:\KCLroof\YYYY\CR3000\
File name structure RFYYDDD.dat.
File format in use between 22/06/07 (DOY173) and 25/07/07 (DOY 206)*
Generated by: CR3000 program (LondonRoof_V3.CR3)
Column	Description		Units
1	Year
2	Month
3	Day
4	Hour
5	Minute
6	Seconds
7	Record Number
8	K↓		W m-2
9	K↓ Standard Deviation		W m-2
10	K↑		W m-2
11	K↑ Standard Deviation		W m-2
12	L↓		W m-2
13	L↓ Standard Deviation		W m-2
14	L↑		W m-2
15	L↑ Standard Deviation		W m-2
16	CNR1 Temperature		°C
17	CNR1 Temperature Standard Deviation		°C
18	CNR1 Temperature		K
19	CNR1 Temperature Standard Deviation		K
20	Wind Direction		°
21	Wind Speed		m s-1
22	Temperature		°C
23	Relative Humidity		%
24	Atmospheric Pressure		hPa
25	Rainfall		??
26	Hail		??
27	UVA		mV
28	UVB		mV
29	Quantum (PAR)		mV
*To be checked. When UVA/UVB/Quantum were changed to μmols????
09/01/09

Radiation: File Format (old)
Daily Output File Format
Who: Duick Young 6/Aug 07
File convention for data files stored in W:\KCLroof\YYYY\CR3000\
File name structure RFYYDDD.dat.
File format in use between 01/03/07 (DOY60) and 22/06/07 (DOY 173)
Generated by: CR3000 program (LondonRoof_V2.CR3)
Column	Description		Units
1	Year
2	Month
3	Day
4	Hour
5	Minute
6	Seconds
7	Record Number
8	K¯		W m-2
9	K¯ Standard Deviation		W m-2
10	K↑		W m-2
11	K↑Standard Deviation		W m-2
12	L¯		W m-2
13	L¯ Standard Deviation		W m-2
14	L↑		W m-2
15	L↑ Standard Deviation		W m-2
16	CNR1 Temperature		°C
17	CNR1 Temperature Standard Deviation		°C
18	CNR1 Temperature		K
19	CNR1 Temperature Standard Deviation		K
20	Wind Direction		°
21	Wind Speed		ms-1
22	Temperature		°C
23	Relative Humidity		%
24	Atmospheric Pressure		hPa
25	Rainfall		??
26	Hail		??
09/01/09

Radiometers: Obsolete File Formats
CR3000_LondonRoof.dat File Format
File convention for data files stored in W:\KCLroof\YYYY\CR3000\
File name structure CR3000_LondonRoof.dat.
File format in use between 22/02/07 and 03/05/07
Generated by: CR3000 program
Column	Description
1	Timestamp
2	Record Number
3	K¯		W m-2
4	K¯ Standard Deviation		W m-2
5	K↑		W m-2
6	K↑ Standard Deviation		W m-2
7	L¯		W m-2
8	L¯ Standard Deviation		W m-2
9	L↑		W m-2
10	L↑ Standard Deviation		W m-2
11	CNR1 Temperature		°C
12	CNR1 Temperature Standard Deviation		°C
13	CNR1 Temperature		K
14	CNR1 Temperature Standard Deviation		K
15	Wind Direction		°
16	Wind Speed		m s-1
17	Temperature		°C
18	Relative Humidity		%
19	Atmospheric Pressure		hPa
20	Rainfall		??
21	Hail		??

Ceilometer cloud plot data file format
Who: Laura Green 03/12/2008
File convention for data files stored in …\YYY\Ceilometer\clouds
File name structure PCLDYYYYDDD.txt
File Convention started 1st January 2007
Generated by: MATLAB using cloud_v2.m

Meteosat: File Format
Meteosat File Convention (OLD FORMAT)
Who: M BLACKETT 16 FEB 2009
File name structure: YYYY_MM_DD.txt
Started: 1 MAR 2008
Generated by meteosatGrabber.r
For 9 pixels every 15 minutes –> 864 lines of data
09/01/10

Meteosat:Flow Diagram

Meteosat: File Format (Old)
Meteosat File Convention (OLD FORMAT)
1/3/2008 – 31/12/2008
Who: M BLACKETT 16 FEB 2009
File name structure: YYYY_MM_DD.txt
Started: 1 MAR 2008
Generated by meteosatGrabber.r
For 9 pixels every 15 minutes –> 864 lines of data
Column	Variable	Units
1	year
2	month
3	day
4	time
5	sample
6	line
7	latitude
8	longitude
9	view_angle
10	12 um radiance	W m-2
11	12 um brightness temp	K
12	10 um radiance	W m-2
13	10 um brightness temp
14	8 um radiance	W m-2
15	8 um brightness temp	K
16	4 um radiance	W m-2
17	4 um brightness temp	K
18	1.6 um radiance	W m-2
19	1.6 um reference	%
20	0.8 um radiance
21	0.8 um reference	%
22	0.6 um radiance
23	0.6 um reference	%